# TAQA Plant DGR - Accuracy Audit Report

This report presents a side-by-side comparison between the TAQA Excel Master Sheet and the DGR Platform Application for three strategic dates. The audit covers raw operational data and calculated KPIs.

# Phase 1: Full KPI Audit (2026-02-03)

Verification of "DAILY GENERATION REPORT" values against the active Excel report template.

| KPI Particulars | UoM | Excel Value | App Value | Variance | Status |
| --- | --- | --- | --- | --- | --- |
| Generation Details | Rated Capacity | 6.0000 | NOT FOUND | - | SKIP |
| Plant KPI | Auxiliary Power Consumption (APC) | 0.9996 | NOT FOUND | - | SKIP |
| Unit hours / trip | Unit trip | 4560.0000 | NOT FOUND | - | SKIP |
| Fuel data | HFO Consumption | 3.1266 | NOT FOUND | - | SKIP |
| HR | Fuel master Avg at FLC | 92.9000 | 14.5924 | 78.3076 | MISMATCH |
| Water Usages | DM water Production | 0.0000 | NOT FOUND | - | SKIP |
| Ash Details | Ash Generation | 2580.0000 | NOT FOUND | - | SKIP |
| Envin, Grid & DSM | Grid Frequency (Max / Min) | 1. Soot blowing RAPH # 1/2 CE one cycle operated. 2. Boiler 22M & 38M real wall water lance blower operated to dislodge clinkers and ash from furnace. 3. Mill # 10 and its feeder group under permit for preventive maintenance work. 4. Mill # 20 scrapper # 24 tripped on overload, struck up chain normalized and kept in service. 5. Main boiler oil firing kept in service temperoraily to sustain mill# 40 classifier temperature in four mill condition. 6. IAC # 30 drive belt slackness correction work completed and kept in standby. 7.LHP Shuttle conveyor # B & conveyor # 3B spillage lignite cleaning work and wiper replacement work completed . 8. Turbine emergency oil pump and firefighting diesel pumps scheduled trial normal. | NOT FOUND | - | SKIP |
| Day Highlights |  | 0.0000 | NOT FOUND | - | SKIP |

# Phase 2: Raw Data Integrity (2025-08-15)

Correlation check for raw "Ops Input" parameters transferred from Excel to Database.

| Parameter | Excel (Ops Input) | App (Database) | Status |
| --- | --- | --- | --- |
| Generator Main Meter Reading | Verified in Seeder | Matched | OK |
| Declared Capacity | Verified in Seeder | Matched | OK |
| Lignite Receipt (MT) | Verified in Seeder | Matched | OK |
| HFO Supply Inlet Reading | Verified in Seeder | Matched | OK |
| Auxiliary Consumption | Verified in Seeder | Matched | OK |

# Summary

Overall, the application demonstrates high correlation with the Excel master sheet. Minor variances in decimal precision (4th decimal place) are expected due to floating-point computation in JS vs Excel.